## PROJECT STATUS REPORT / FIELD OBSERVATION

Project: MOSP Food Cart (red job # 19015)

Project Location: Mount Sinai Medical Center, 4300 Alton Road, Miami Beach, FL

Time: 09:00 AM (tentative)

Site Visit Date: 02-25-26

Weather: Clear / dry conditions

Phase: Construction Administration

Status: Field observation performed in active work/containment area.

Present: Eduardo Muhiña (RDG)

NOTE: Omission of any item of non-compliance with the contract documents from this report does not relieve the contractor of responsibility to comply with contract requirements.

MOSP Food Cart

| ITEM # | DESCRIPTION | REFERENCE PHOTO/DETAIL | COMPLETED YES or NO |
| --- | --- | --- | --- |
| 1 | Exterior work-area perimeter with temporary containment visible. Active work conditions observed. |  | YES |
| 2 | Perimeter zone with temporary barricade/tape and work access path visible. |  | YES |
| 3 | Temporary containment wall and protected opening observed; access appears controlled. |  | YES |
| 4 | Additional perimeter view of containment and adjacent paved area. |  | YES |
| 5 | Pressure monitoring gauge posted at containment area; reading displayed at time of photo. |  | YES |
| 6 | Pressure log sheet posted/available at field location. |  | YES |
| 7 | Interior-side temporary containment barrier and warning tape observed. |  | YES |
| 8 | General site context reference image captured for report file. |  | N/A |